| Prelab Write-Up |  |
| --- | --- |
| TMEIC DI Cooling Skid |  |
| Date: 9/3/26 | Class: ECEN 404-902 |
| Professor: Dr. Matthew Johnson | TA: Jerry Xu |
| Team Member Name | Subsystem |
| Ethan Henderson | Power System - Team Lead |
| Robbie Parker | Controls Hardware |
| Noah Ovikian | Controls Software |
| Power System/Team Lead Progress & Updates |  |
| - Power infrastructure components in BOM - Scheduled sync meeting with MEEN and TMEIC - developed Success Agreement to protect against scope changes - Developed Gantt Chart for MEEN integration - 4 Phases - target completion Oct. 20 |  |
| Controls Hardware Progress & Updates |  |
| - Remaining instruments sized and added to BOM - Waiting for TMEIC to discuss selections and place order - target receive date Sep. 7 |  |
| Controls Software Progress & Updates |  |
| - Changed Temperature control from Proportional-Integral to On-Off - Preparing for Mechanical & Electrical integration w/ functional tests & adjustments - Creating & Updating Drawings and Documentation - Looking to continue interfacing with HMI (controls hardware) during lab |  |