| Prelab Write-Up |  |
| --- | --- |
| TMEIC DI Cooling Skid |  |
| Date: 9/10/26 | Class: ECEN 404-902 |
| Professor: Dr. Matthew Johnson | TA: Jerry Xu |
| Team Member Name | Subsystem |
| Ethan Henderson | Power System - Team Lead |
| Robbie Parker | Controls Hardware |
| Noah Ovikian | Controls Software |
| Power System/Team Lead Progress & Updates |  |
| - Developed Gantt Chart with MEEN Team Lead that details Testing Phases, Validation Timeline, and Construction Timeline - Ordered ALL Power Infrastructure parts (expected delivery 2-3 days in time for beginning of construction of Phase I) - Organized and initiated development of Digital Twin to maximize efficiency in testing and offer a benchmark during full-skid validation - Execution will be carried out by Controls Software subsystem |  |
| Controls Hardware Progress & Updates |  |
| - Specified 3-way valve, voltage meter, and current meter - Respecified pressure switch - Ordered remaining parts from sponsor |  |
| Controls Software Progress & Updates |  |
| - Aim to work w/ Robbie on HMI, and Cody & Co. on Simulation. - MATLAB Simulink Simulation (DT) Reboot & Simplification - Added Heat Exchanger, Add Constant Vol. Vessel, Removed Pipe, Removed PI Controller. Working on Controller - Implemented Pump Lifecycle Turnover - Bang-Bang Control → MultiStage Control - 1st Revision of Control Narrative (Submitted for Review) |  |