| Prelab Write-Up |  |
| --- | --- |
| TMEIC DI Cooling Skid |  |
| Date: 9/17/26 | Class: ECEN 404-902 |
| Professor: Dr. Matthew Johnson | TA: Jerry Xu |
| Team Member Name | Subsystem |
| Ethan Henderson | Power System - EE Team Lead |
| Robbie Parker | Controls Hardware |
| Noah Ovikian | Controls Software |
| Power System/Team Lead Progress & Updates |  |
| - Coordinated with FEDC on DI-water source - water testing weekly - Initiated work on Digital Twin to maximize testing efficiency - Control Software/MEEN - Organized procurement of Power System and Control Hardware materials - Established Gantt Chart to coordinate ECEN and MEEN responsibilities and action items - Worked with MEEN TL to create a Project Success Agreement to define project expectations and to freeze scope expansions - Adapted Skid Power system design to supply chain related design changes - Skid Power System will have dual power supplies |  |
| Controls Hardware Progress & Updates |  |
| - Received ALL instruments except for Flow Meter - expected 9/29 - Will implement float level switches during Phase I testing |  |
| Controls Software Progress & Updates |  |
| - MODBUS Comms between HMI & PLC in progress - Hysteresis Control Added to PLC Controller - PLC Logic Cleanup & Debugging - Control Narrative Rev. B in Progress - Begin Digital Twin Expansion |  |