## Sheet1
Signal Type | Tag No | Name | Description | Type | Modbus Address | PLC Hardware Memory Address | PLC Virtual Memory Address | I/O | Global Variable | Program Variable Name | Operator Visiblity
Switch | SW-1 | System Start |  | BOOL | XXXXXXXX |  |  | N/A | NO
Switch | SW-2 | System Shutdown |  | BOOL | XXXXXXXX |  |  | N/A | NO
Switch | SW-3 | Simplex Mode |  | BOOL | XXXXXXXX |  |  | N/A | NO
Switch | SW-4 | Manual Turnover |  | BOOL | XXXXXXXX |  |  | N/A | NO
Switch | SW-5 | Enable Manual Valve Control |  | BOOL | XXXXXXXX |  |  | N/A | NO
Switch | SW-6 | Enable Manual Fan Control |  | BOOL | XXXXXXXX |  |  | N/A | NO
Switch | SW-7 | Force Valve Open/Close |  | BOOL | XXXXXXXX |  |  | N/A | NO
Switch | SW-8 | Force Fan 1 On/Off |  | BOOL | XXXXXXXX |  |  | N/A | NO
Switch | SW-9 | Force Fan 2 On/Off |  | BOOL | XXXXXXXX |  |  | N/A | NO
Switch | SW-10 | Primary Hydraulic Fault ACK |  | BOOL | XXXXXXXX |  |  | N/A | NO
Switch | SW-11 | Secondary Hydraulic Fault ACK |  | BOOL | XXXXXXXX |  |  | N/A | NO
Switch | SW-12 | Enable Pump Cycling |  | BOOL | XXXXXXXX |  |  | N/A | NO
Switch | SW-13 | Reset Pump Differential Signal |  | BOOL | XXXXXXXX |  |  | N/A | NO
Switch | SW-14 | Fault ACK |  | BOOL | XXXXXXXX |  |  | N/A | NO
Internal | SIG-1 | System On |  | BOOL | XXXXXXXX |  |  | N/A | NO
Internal | SIG-2 | System Shutting Down |  | BOOL | XXXXXXXX |  |  | N/A | NO
Internal | SIG-3 | System Initializing |  | BOOL | XXXXXXXX |  |  | N/A | NO
Internal | SIG-4 | System Calibrating |  | BOOL | XXXXXXXX |  |  | N/A | NO
Internal | SIG-5 | Measured Pump Power |  | BOOL | XXXXXXXX |  |  | N/A | NO
Internal | SIG-6 | Measured Inlet Coolant Temperature |  | REAL | XXXXXXXX |  |  | N/A | NO
Internal | SIG-7 | Measured Conductivity |  | REAL | XXXXXXXX |  |  | N/A | NO
Internal | SIG-8 | Measured Flow |  | REAL | XXXXXXXX |  |  | N/A | NO
Internal | SIG-9 | Valve Open Percentage |  | REAL | XXXXXXXX |  |  | N/A | NO
Internal | SIG-10 | Real RTD 1 Signal |  | REAL | XXXXXXXX |  |  | N/A | NO
Internal | SIG-11 | Real RTD 2 Signal |  | REAL | XXXXXXXX |  |  | N/A | NO
Internal | SIG-12 | Real RTD 3 Signal |  | REAL | XXXXXXXX |  |  | N/A | NO
Internal | SIG-13 | Real Pump1 Signal |  | REAL | XXXXXXXX |  |  | N/A | NO
Internal | SIG-14 | Real Pump 2 Signal |  | BOOL | XXXXXXXX |  |  | N/A | NO
Internal | SIG-15 | Debounced Water Level Low Signal |  | BOOL | XXXXXXXX |  |  | N/A | NO
Internal | SIG-16 | Debounced Water Level Low Low Signal |  | BOOL | XXXXXXXX |  |  | N/A | NO
Internal | SIG-17 | Debounced Pressure Signal |  | BOOL | XXXXXXXX |  |  | N/A | NO
Internal | SIG-18 | Debounced Conductivity Alarm Signal |  | BOOL | XXXXXXXX |  |  | N/A | NO
Internal | SIG-19 | Debounced Conductivity Fault Signal |  | BOOL | XXXXXXXX |  |  | N/A | NO
Internal | SIG-20 | Output Water Level Low Signal |  | BOOL | XXXXXXXX |  |  | N/A | NO
Internal | SIG-21 | Output Water Level Low Low Signal |  | BOOL | XXXXXXXX |  |  | N/A | NO
Internal | SIG-22 | Output Pressure Signal |  | BOOL | XXXXXXXX |  |  | N/A | NO
Internal | SIG-23 | Output Conductivity Alarm Signal |  | BOOL | XXXXXXXX |  |  | N/A | NO
Internal | SIG-24 | Output Conductivity Fault Signal |  | BOOL | XXXXXXXX |  |  | N/A | NO
Internal | SIG-25 | Pump Hours
Alarm | ALM-1 | High Coolant Temperature |  | BOOL | XXXXXXXX |  |  | N/A | NO
Alarm | ALM-2 | Low Coolant Level in Vessel |  | BOOL | XXXXXXXX |  |  | N/A | NO
Alarm | ALM-3 | High Coolant Conductivity |  | BOOL | XXXXXXXX |  |  | N/A | NO
Alarm | ALM-4 | Low Hydraulic Power |  | BOOL | XXXXXXXX |  |  | N/A | NO
Alarm | ALM-5 | Low Hydraulic Flow |  | BOOL | XXXXXXXX |  |  | N/A | NO
Alarm | ALM-6 | Low Hydraulic Pressure |  | BOOL | XXXXXXXX |  |  | N/A | NO
Alarm | ALM-7 | Primary Power Signal Malfunction |  | BOOL | XXXXXXXX |  |  | N/A | NO
Alarm | ALM-8 | Secondary Power Signal Malfunction |  | BOOL | XXXXXXXX |  |  | N/A | NO
Alarm | ALM-9 | Primary Hydraulic Failure |  | BOOL | XXXXXXXX |  |  | N/A | NO
Alarm | ALM-10 | Secondary Hydraulic Failure |  | BOOL | XXXXXXXX |  |  | N/A | NO
Alarm | ALM-11 | Automatic Valve Control Disabled |  | BOOL | XXXXXXXX |  |  | N/A | NO
Alarm | ALM-12 | Automatic Fan Control Disabled |  | BOOL | XXXXXXXX |  |  | N/A | NO
Alarm | ALM-13 | Flow Signal Malfunction |  | BOOL | XXXXXXXX |  |  | N/A | NO
Alarm | ALM-14 | Bad RTD 1 Signal |  | BOOL | XXXXXXXX |  |  | N/A | NO
Alarm | ALM-15 | Bad RTD 2 Signal |  | BOOL | XXXXXXXX |  |  | N/A | NO
Alarm | ALM-16 | Bad RTD 3 Signal |  | BOOL | XXXXXXXX |  |  | N/A | NO
Alarm | ALM-17 | Pump Cycle Alarm |  | BOOL
Fault | FLT-1 | Critical Temperature |  | BOOL | XXXXXXXX |  |  | N/A | NO
Fault | FLT-2 | Critical Vessel Level |  | BOOL | XXXXXXXX |  |  | N/A | NO
Fault | FLT-3 | Critical Conductivity |  | BOOL | XXXXXXXX |  |  | N/A | NO
Fault | FLT-4 | Level Sensor Malfunction |  | BOOL | XXXXXXXX |  |  | N/A | NO
Fault | FLT-5 | Conductivity Sensor Malfunction |  | BOOL | XXXXXXXX |  |  | N/A | NO
Fault | FLT-6 | Duplex Failure |  | BOOL | XXXXXXXX |  |  | N/A | NO
Fault | FLT-7 | Temperatur Sensor Malfunction |  | BOOL | XXXXXXXX |  |  | N/A | NO
Fault | FLT-8 | Overflow/EOTW |  | BOOL
Physical | PHY-1 | Flow Sensor Input |  | WORD | XXXXXXXX |  |  | I | YES
Physical | PHY-2 | RTD 1 |  | INT | XXXXXXXX |  |  | I | YES
Physical | PHY-3 | RTD 2 |  | INT | XXXXXXXX |  |  | I | YES
Physical | PHY-4 | RTD 3 |  | INT | XXXXXXXX |  |  | I | YES
Physical | PHY-5 | Pump 1 Power |  | WORD | XXXXXXXX |  |  | I | YES
Physical | PHY-6 | Pump 2 Power |  | WORD | XXXXXXXX |  |  | I | YES
Physical | PHY-7 | Conductivity |  | WORD | XXXXXXXX |  |  | I | YES
Physical | PHY-8 | Conductivity Alarm |  | BOOL | XXXXXXXX |  |  | I | YES
Physical | PHY-9 | Conductivity Fault |  | BOOL | XXXXXXXX |  |  | I | YES
Physical | PHY-10 | Level Low Switch |  | BOOL | XXXXXXXX |  |  | I | YES
Physical | PHY-11 | Level Low Low Switch |  | BOOL | XXXXXXXX |  |  | I | YES
Physical | PHY-12 | Fan 1 Enable |  | BOOL | XXXXXXXX |  |  | O | YES
Physical | PHY-13 | Fan 2 Enable |  | BOOL | XXXXXXXX |  |  | O | YES
Physical | PHY-14 | Pump 1 Enable |  | BOOL | XXXXXXXX |  |  | O | YES
Physical | PHY-15 | Pump 2 Enable |  | BOOL | XXXXXXXX |  |  | O | YES
Physical | PHY-16 | Valve Actuation Signal |  | WORD | XXXXXXXX |  |  | O | YES
Physical | PHY-17 | Pressure Switch Signal |  | BOOL | XXXXXXXX |  |  | I | YES
Physical | PHY-18 | Pump 1 Voltage |  |  | XXXXXXXX
Physical | PHY-19 | Pump 1 Voltage |  |  | XXXXXXXX
Physical | PHY-20 | Pump 2 Voltage |  |  | XXXXXXXX
Physical | PHY-21 | Pump 2 Current |  |  | XXXXXXXX